| L | Низкая чувствительность (<250 ppm × m) |
| --- | --- |
| M | Средняя чувствительность (<150 ppm × m) |
| H | Высокая чувствительность (<50 ppm × m) |

SEVIRAL

| ГАЗ | Химическое название | Химическая формула | SEVIRAL GS300-CH |
| --- | --- | --- | --- |
| Acetic Acid | Acetic acid | C2H4O2 | H |
| Acetylene | Acetylene | C2H2 |  |
| Acrolein | 2-Propenal | C3H4O |  |
| Turpentine | Alpha-pinene | C10H16 | H |
| Ammonia | Ammonia | NH3 |  |
| Benzene | Benzene | C6H6 | H |
| 1,3-Butadiene | 1,3-Butadiene | C4H6 | H |
| Butane | Butane | C4H10 | H |
| Carbon dioxide | Carbon dioxide | CO2 |  |
| Carbon monoxide | Carbon monoxide | CO |  |
| Ethane | Ethane | C2H6 | H |
| Ethyl alcohol | Ethanol | C2H6O | H |
| Acrylic acid | Ethyl ester | C5H8O2 |  |
| Ethyl hexyl acrylate | 2-Ethylhexyl acrylate | C11H20O2 | M |
| Ethylene | Ethylene | C2H4 | M |
| Ethylene glycol | 1,2-Ethanediol | C2H6O2 | M |
| Ethylbenzene | Ethylbenzene | C8H10 | H |
| Ethylene oxide | Ethylene oxide | C2H4O | H |
| Formaldehyde | Methanal | CH2O | M |
| Heptane | Heptane | C7H16 | H |
| Hexane | Hexane | C6H14 | H |
| Isoprene | Isoprene | C5H8 | L |
| Methane | Methane | CH4 | H |
| Methanol | Methanol | CH4O | H |
| MEK | 2-Butanone | C4H8 | M |
| Nitrogen trifluoride | Nitrogen trifluoride | F3N |  |
| Nitrous oxide | Nitrous oxide | N2O |  |
| Octane | Octane | C8H18 | H |
| Pentane | Pentane | C5H12 | H |
| Phenol | Phenol | C6H6O | M |
| Phosphine | Phosphine | H3P |  |
| Propane | Propane | C3H8 | H |
| Propylene | Propylene | C3H6 | H |
| R11 | Trichloromonofluoromethane | CCl3F |  |
| R12 | Dichlorodifluoromethane | CCl2F2 |  |
| R13 | Chlorotrifluoromethane | CClF3 |  |
| R13B1 (Halon 1301) | Bromotrifluoromethane | CBrF3 |  |
| R22 | Chlorodifluoromethane | CHClF2 |  |
| R23 | 29% R-508 (trifluoromethane) | CHF3 |  |
| R123 | Ethane, 2,2-dichloro-1,1, 1-trifluoro | C2HCl2F3 |  |
| R125 | Pentafluoroethane | C2HF5 |  |
| R134A | 1,1,1,2-Tetrafluoroethane | C2H2F4 |  |
| R152a | 1,1-Difluoroethane | C2H4F2 |  |
| R407C | R-32/125/134a (23%/25%/52%) | 23% CH2F2 · 25% C2HF5 · 52% C2H2F4 |  |
| R410A | R-32/125 (50%/50%) | 50% CH2F2 · 50% C2HF5 |  |
| R417A | R-125/134a/600 (46.6%/50%/3.4%) | 46.6% C2HF5 · 50% C2H2F4 · 3.4% C4H10 |  |
| R422A | R-125/134a/600a (85.1%/11.5%/3.4%) | 85.1% C2HF5 · 11.5% C2H2F4 · 3.4% C4H10 |  |
| R507A | R-125/143a (50%/50%) | 50% C2HF5 · 50% C2H3F3 |  |
| R508a (61%) | Hexafluoroethane | C2F6 |  |
| Sulfur dioxide | Sulfur dioxide | SO2 |  |
| Sulfur hexafluoride | Sulfur hexafluoride | SF6 |  |
| Toluene | Toluene | C7H8 | H |
| Vinyl chloride | Vinyl chloride | C2H3Cl |  |